# NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

| 1. | Notifying Member: UGANDA If applicable, name of local government involved (Article 3.2 and 7.2): |
| --- | --- |
| 2. | Agency responsible: Uganda National Bureau of Standards Plot 2-12 ByPass Link, Bweyogerere Industrial and Business Park P.O. Box 6329 Kampala, Uganda Tel: +(256) 4 1733 3250/1/2 Fax: +(256) 4 1428 6123 E-mail: info@unbs.go.ug Website: https://www.unbs.go.ug Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above: |
| 3. | Notified under Article 2.9.2 [ ], 2.10.1 [ ], 5.6.2 [X], 5.7.1 [ ], 3.2 [ ], 7.2 [ ], other: |
| 4. | Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable): Petroleum gases and other gaseous hydrocarbons. (HS code(s): 2711); Fuels (ICS code(s): 75.160), Gaseous Fuels |
| 5. | Title, number of pages and language(s) of the notified document: DUS 2528:2022, Standard Practice for Gas Chromatograph Based On-line/At-line Analysis for Sulfur Content of Gaseous Fuels, First edition; (13 page(s), in English) |
| 6. | Description of content: This Draft Uganda Standard is for the determination of volatile sulfur-containing compounds in high methane content gaseous fuels such as natural gas using on-line/at-line instrumentation, and continuous fuel monitors (CFMS). It has been successfully applied to other types of gaseous samples including air, digester, landfill, and refinery fuel gas. The detection range for sulfur compounds, reported as picograms sulfur, based upon the analysis of a 1 cc sample, is one hundred (100) to one million (1,000,000). This is equivalent to 0.1 to 1,000 mg/m3. |
| 7. | Objective and rationale, including the nature of urgent problems where applicable: Prevention of deceptive practices and consumer protection; Quality requirements |
| 8. | Relevant documents: - ASTM D1072 Test Method for Total Sulfur in Fuel Gases by Combustion and Barium Chloride Titration - ASTM D1945 Test Method for Analysis of Natural Gas by Gas Chromatography - ASTM D3606 Test Method for Determination of Benzene and Toluene in Finished Motor and Aviation Gasoline by Gas Chromatography - ASTM D3764 Practice for Validation of the Performance of Process Stream Analyzer Systems - ASTM D4084 Test Method for Analysis of Hydrogen Sulfide in Gaseous Fuels (Lead Acetate Reaction Rate Method) - ASTM D4468 Test Method for Total Sulfur in Gaseous Fuels by Hydrogenolysis and Rateometric Colorimetry - ASTM D4626 Practice for Calculation of Gas Chromatographic Response Factors - ASTM D4810 Test Method for Hydrogen Sulfide in Natural Gas Using Length-of-Stain Detector Tubes - ASTM D5504 Test Method for Determination of Sulfur Compounds in Natural Gas and Gaseous Fuels by Gas Chromatography and Chemiluminescence - ASTM D6621 Practice for Performance Testing of Process Analyzers for Aromatic Hydrocarbon Materials - ASTM D6122 Practice for Validation of the Performance of Multivariate Online, At-Line, and Laboratory Infrared Spectrophotometer Based Analyzer Systems - ASTM D6228 Test Method for Determination of Sulfur Compounds in Natural Gas and Gaseous Fuels by Gas Chromatography and Flame Photometric Detection - ASTM E594 Practice for Testing Flame Ionization Detectors Used in Gas or Supercritical Fluid Chromatography - ISO 7504 Gas Analysis-Vocabulary |
| 9. | Proposed date of adoption: To be determined Proposed date of entry into force: Not applicable. |
| 10. | Final date for comments: 60 days from notification |
| 11. | Texts available from: National enquiry point [X] or address, telephone and fax numbers and email and website addresses, if available, of other body: Uganda National Bureau of Standards Plot 2-12 ByPass Link, Bweyogerere Industrial and Business Park P.O. Box 6329 Kampala, Uganda Tel: +(256) 4 1733 3250/1/2 Fax: +(256) 4 1428 6123 E-mail: info@unbs.go.ug Website: https://www.unbs.go.ug |