# NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

| 1. | Notifying Member: BOTSWANA If applicable, name of local government involved (Article 3.2 and 7.2): |
| --- | --- |
| 2. | Agency responsible: Botswana WTO-TBT Enquiry Point Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above: BOTSWANA BUREAU OF STANDARDS PRIVATE BAG BO 48 GABORONE BOTSWANA TEL: (+267) 3903200 FAX: (+267) 3903120 EMAIL: infoc@hq.bobstandards.bw enquires@bobstandards.bw Toll free: 0800 600 941 |
| 3. | Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], 3.2 [ ], 7.2 [ ], other: |
| 4. | Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable): Fire-fighting (ICS code(s): 13.220.10); Alarm and warning systems (ICS code(s): 13.320) |
| 5. | Title, number of pages and language(s) of the notified document: BOS 813-1:2023 Edition 1.0 Fire detection and fire alarm systems for buildings – Part 1: Code of practice for design, installation, commissioning and maintenance of systems in non-domestic premises; (146 page(s), in English) |
| 6. | Description of content: This standard provides recommendations for planning, design, installation, commissioning and maintenance of fire detection and fire alarm systems in and around buildings, other than domestic premises. It does not recommend whether or not fire detection should be installed in any given premises. Recommendations for fire detection and fire alarms systems in domestic premises are given in BS 5839-6. The term fire detection and fire alarm system, in the context of this standard, includes systems, that range from those comprising of only one or two call points sonders to complex networked systems that incorporate a large number of automatic fire detectors, manual call points and sounders, connected to numerous inter -communicating control and indicating panels. The term also includes systems that are capable of providing signals to initiate the operation of other fire protection systems and equipment (such as fire extinguishing systems, smoke control systems or automatic door release equipment) or safety measures (such as shutdown of air handling systems, closing of oil or gas valves or grounding of lifts). It does not apply to the other systems and equipment themselves, or the ancillary circuits to interface with them. Recommendations for the planning installation and servicing of facilities for operation of certain fire protection systems by the systems addressed within this this standard are given in BS 7273 (all parts) This standard does not cover systems whose primary function is to extinguish or control fire, such as sprinkler or automatic extinguishing systems, even though they might have a secondary alarm function; it does, however, cover the use of a signal from an automatic extinguishing system as one initiating element of a fire alarm system (e.g. by use of a pressure or flow switch). This standard does not cover voice alarm systems. Recommendations for voice alarm systems and voice sounders are given in BS 5839-8, This standard does not cover systems combining fire alarm functions with other non-fire related functions. Recommendations for such integrated systems are given in DD CLC/TS 50398. This standard does not cover the 997 (or 112) public emergency call system, or manually or mechanically operated sounders. This standard does not cover audible or visual way-guidance systems which are designed to complement fire alarm systems. Recommendations for fire detection and fire alarm systems in electronic data processing installations and similar critical electronic equipment rooms are given in BS 6266, which provides recommendations over and above those given in this standard. This standard applies to extensions and alterations to existing systems, at least in respect of the design, installation, commissioning and certification of the new work, albeit that the extended or altered system might not, overall, conform to the recommendations of this standard. |
| 7. | Objective and rationale, including the nature of urgent problems where applicable: National security requirements; Consumer information, labelling; Prevention of deceptive practices and consumer protection; Protection of human health or safety; Protection of animal or plant life or health; Protection of the environment; Quality requirements; Harmonization; Reducing trade barriers and facilitating trade |
| 8. | Relevant documents: BS 476, (relevant parts), Fire tests on building materials and structures BS 4678-4, Cable trunking - Part 4: Specification for cable trunking made of insulating material BS 5839-6, Fire detection and fire alarm systems for buildings BS 5839-8, Fire detection and fire alarm systems for buildings - Part 8: Code of practice for the design, installation, commissioning and maintenance of voice alarm systems BS 5839-9, Fire detection and alarm systems for buildings - Part 9: Code of practice for the design, installation commissioning and maintenance of emergency voice communication systems BS 6266, Fire Protection for Electronic Equipment Installations BS 7273, (all parts), Code of practice for the operation of fire protection measures BS 7629-1, Electric cables - Specification for 300/500 V fire resistant screened, fixed installation cables having low emission of smoke and corrosive gases when affected1y fire - Part 1: Multicore cables BS 7671, Requirements for Electrical Installations - JET Wiring Regulations (Seventeenth edition) BS 7846, Electric cables - Thermosetting insulated, armoured fire-resistant cables of rated voltage 600 / 1000 V fixed insulation, having low emission of smoke and corrosive gases when affected by fire -Specification BS 8434-2, Methods of test for assessment of the fire integrity of electric cables - Part 2: Test for unprotected small cables for use in emergency circuits - BS EN 50200 with a 930°C flame and with water spray BS 8591, Remote centres receiving signals from alarm systems-Code of practice BS EN 54-2:1997+A1:2006, Fire detection and fire alarm systems- Part 2: Control and indicating equipment BS EN 54-3, Fire Detection and fire alarm systems - Part 3: Fire alarm devices - Sounders BS EN 54-4, Fire detection and fire alarm systems - Part 4: Power supply equipment BS EN 54-5, Fire detection and fire alarm systems - Part 5: Heat detectors - Point heat detectors BS EN 54-7, Fire detection and fire alarm systems - Part 7: Smoke detectors - Point detectors using scattered light, transmitted light or ionization BS EN 54-10, Fire detection and fire alarm systems- Part 10: Flame Detectors - Point detectors BS EN 54-11, Fire detection and fire alarm systems- Part 11: Manual call points BS EN 54-12, Fire detection and fire alarm systems - Part 12: Smoke detectors - Line detectors using an optical beam BS EN 54-13, Fire detection and fire alarm systems - Part 13: Compatibility and connectability assessment of system components BS EN 54-20, Fire detection and fire alarm systems-Part 20: Aspirating smoke detectors BS EN 54-21, Fire detection and fire alarm systems - Part 21: Alarm transmission and fault warning routing equipment BS EN 54-23, Fire detection and fire alarm systems - Part 23: Fire alarm devices – Visual alarm devices BS EN 54-25:2008, Fire detection and fire alarm systems-Part 25: Components using radio links BS EN 54-26, Fire detection and fire alarm systems - Part 26: Carbon monoxide detectors - Point detectors BS EN 54-29, Fire detection and fire alarm systems - Part 29: Multi-sensor fire detectors- Point detectors using a combination of smoke and heat sensors BS EN 54-30, Fire detection and fire alarm systems-Part 30: Multi-sensor fire detectors – Point detectors using a combination of carbon monoxide and heat sensors BS EN 54-31, Fire detection and fire alarm system -Part 31: Multi-sensor fire detectors – Point detectors using a combination of smoke, carbon monoxide and optionally heat sensors BS EN 50200:2015, Method of test for resistance to fire of unprotected small cables for use in emergency circuits BS EN 60079-14, Explosive atmospheres. Electrical installations design, selection and erection BS EN 60079-17, Electrical apparatus for use in the presence of combustible dust -Part 17: Inspection and maintenance of electrical installations hazardous areas (other than mines) BS EN 60702-1, Mineral insulated cables and their terminations with a rated voltage not exceeding 750 V - Part 1: Cables BS EN 60702-2, IEC 60702-2, Mineral insulated cables and their terminations with a rated voltage not exceeding 750 V - Part 2: Terminations BS EN 61386 (all parts), Conduit systems for cable management BS EN ISO 13943, Fire safety- Vocabulary ISO 7240-8, Fire detection and alarm systems — Part 8: Point-type fire detectors using a carbon monoxide sensor in combination with a heat sensor ISO 7240-15, Fire detection and alarm systems — Part 15: Point-type fire detectors using smoke and heat sensors SANS 10400 Part T, The application of the National Building Regulations Part T: Fire protection |
| 9. | Proposed date of adoption: To be determined Proposed date of entry into force: To be determined |
| 10. | Final date for comments: 60 days from notification |
| 11. | Texts available from: National enquiry point [X] or address, telephone and fax numbers and email and website addresses, if available, of other body: BOTSWANA BUREAU OF STANDARDS PRIVATE BAG BO 48 GABORONE BOTSWANA TEL: (+267) 3903200 FAX: (+267) 3903120 EMAIL: infoc@hq.bobstandards.bw enquires@bobstandards.bw Toll free: 0800 600 941 https://members.wto.org/crnattachments/2023/TBT/BWA/23_11489_00_e.pdf |