# NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

| 1. | Notifying Member: BURUNDI, KENYA, RWANDA, TANZANIA, UGANDA If applicable, name of local government involved (Article 3.2 and 7.2): |
| --- | --- |
| 2. | Agency responsible: Uganda National Bureau of Standards Plot 2-12 ByPass Link, Bweyogerere Industrial and Business Park P.O. Box 6329 Kampala, Uganda Tel: +(256) 4 1733 3250/1/2 Fax: +(256) 4 1428 6123 E-mail: info@unbs.go.ug Website: https://www.unbs.go.ug Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above: |
| 3. | Notified under Article 2.9.2 [X], 2.10.1 [ ], 5.6.2 [ ], 5.7.1 [ ], 3.2 [ ], 7.2 [ ], other: |
| 4. | Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable): Air conditioning machines incorporating a refrigerating unit and a valve for reversal of the cooling/heat cycle "reversible heat pumps" (excl. of a kind used for persons in motor vehicles and self-contained or "split-system" window or wall air conditioning machines) (HS code(s): 841581); Ventilation and air-conditioning systems (ICS code(s): 91.140.30) |
| 5. | Title, number of pages and language(s) of the notified document: DEAS 1213:2024, Air conditioning appliances for household and similar use — Minimum Energy Performance —Requirements, First edition; (27 page(s), in English) |
| 6. | Description of content: This Draft East African Standard specifies the minimum energy performance and energy labelling requirements for electrical non-ducted single-split, self-contained air-cooled air conditioners, air-to-air reversible heat pumps, and portable air conditioners, with a rated cooling output of up to 16 kW placed on the market for any application. This standard does not apply to: - water-cooled air conditioners, - water-source heat pumps, - multi-split air conditioners, - multi-split air-to-air heat pumps, - variable refrigerant flow systems, and - ducted equipment as well as non-electric energy sources. |
| 7. | Objective and rationale, including the nature of urgent problems where applicable: Consumer information, labelling; Prevention of deceptive practices and consumer protection; Protection of the environment; Quality requirements; Harmonization; Reducing trade barriers and facilitating trade |
| 8. | Relevant documents: - IEC 60335-2-40, Household and similar electrical appliances – Safety – Part 2-40: Particular requirements for electrical heat pumps, air-conditioners and dehumidifiers. - ISO 817, Refrigerants - Designation and safety classification. - ISO 5149, Refrigerating systems and heat pumps — Safety and environmental requirements. - ISO 5151, Non-ducted air conditioners and heat pumps – Testing and rating for performance - ISO 16358-1, Air-cooled air conditioners and air-to-air heat pumps - Testing and calculating methods for seasonal performance factors – Part 1: Cooling seasonal performance factor - ISO 16358-2, Air-cooled air conditioners and air-to-air heat pumps — Testing and calculating methods for seasonal performance factors — Part 2: Heating seasonal performance factor. - ISO 16358-3, Air-cooled air conditioners and air-to-air heat pumps — Testing and calculating methods for seasonal performance factors — Part 3: Annual performance factor. - ISO 18326, Non-ducted portable air-cooled air conditioners and air-to-air heat pumps having a single exhaust duct – Testing and rating for performance - Handbook for the Montreal Protocol on Substances that Deplete the Ozone Layer, Twelfth Edition, annexes A, B, C, and F. |
| 9. | Proposed date of adoption: To be determined Proposed date of entry into force: To be determined |
| 10. | Final date for comments: 60 days from notification |
| 11. | Texts available from: National enquiry point [X] or address, telephone and fax numbers and email and website addresses, if available, of other body: Uganda National Bureau of Standards Plot 2-12 ByPass Link, Bweyogerere Industrial and Business Park P.O. Box 6329 Kampala, Uganda Tel: +(256) 4 1733 3250/1/2 Fax: +(256) 4 1428 6123 E-mail: info@unbs.go.ug Website: https://www.unbs.go.ug https://members.wto.org/crnattachments/2024/TBT/UGA/24_03690_00_e.pdf |